# Fire risk assessment

| Responsible person |  |
| --- | --- |
| Address of premises |  |
| Assessor | Name, and organisation if any |
| Date of assessment |  |
| Use of premises | e.g. first-floor offices, showroom below |
| Floors and construction |  |
| Most people present at once |  |
| Other responsible persons in the building | Landlord, managing agent, other tenants |

## Step 1: Fire hazards

What could start a fire, and what could burn?

| Source | What we found | Control or action |
| --- | --- | --- |
| Electrical installation and equipment |  |  |
| Smoking |  |  |
| Arson |  |  |
| Heating and portable heaters |  |  |
| Cooking |  |  |
| Housekeeping, stock and waste |  |  |
| Contractors and hot work |  |  |
| Dangerous substances |  |  |

## Step 2: People at risk

| Who | Where and when | Why at greater risk | Arrangements |
| --- | --- | --- | --- |
| Employees |  |  |  |
| Visitors and customers |  |  |  |
| Lone, night or temporary workers |  |  |  |
| Anyone who needs help to escape |  |  |  |

## Step 3: Evaluate and act

| Check | Yes or no | Details, or action needed |
| --- | --- | --- |
| Escape routes clear and fire exits easy to open |  |  |
| Distances to an exit reasonable |  |  |
| Stairways protected by self-closing fire doors |  |  |
| Fire alarm suitable, with detection where needed |  |  |
| Emergency lighting on escape routes |  |  |
| Fire exit signs and fire action notices in place |  |  |
| Enough extinguishers, in the right places |  |  |
| Plan for evacuating disabled people |  |  |

## Step 4: Record, plan and train

| Routine | How often | Who | Last done |
| --- | --- | --- | --- |
| Check exits and escape routes | Daily |  |  |
| Test the fire alarm | Weekly |  |  |
| Test emergency lighting | Monthly, plus a yearly test |  |  |
| Service extinguishers | Yearly |  |  |
| Fire drill |  |  |  |
| Train new and temporary staff | On arrival |  |  |
| Train fire wardens |  |  |  |

## Action plan

| Item | Deficiency | Proposed action | Timescale | Person responsible |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |

## Step 5: Review

| Date of review | Reviewed by | What prompted it | What changed |
| --- | --- | --- | --- |